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REQUEST FOR PROPOSALS (RFP)
EMPANELMENT OF DRE SERVICE PROVIDERS FOR SOLARIZATION OF ENTERPRISES AS IMMERSION SITES IN ODISHA 
DATE OF SOLICITATION: 13th August 2026 

RFP No. PCI/RFP/2026-27/011

Project Concern International, India (PCI India) has been working in India since 1998. In the last two and a half decades, PCI India has maintained a diversified portfolio, working in rural and urban settings in the areas of integrated health and community development with programs focusing on low-income, vulnerable and hard-to-reach populations. 

At present, PCI India is working across 17 states in India, including Delhi, Haryana, Uttar Pradesh, Bihar, Madhya Pradesh, Odisha, Jharkhand, West Bengal, Maharashtra and Chhattisgarh. For more information on PCI India, please click HERE.

The following table brings out the dates for the main events of the bidding process for this RFP. The Bidder should note that PCI reserves the right to change these dates without assigning any reason at any stage of the bidding process.

Important information and dates
	Information
	Details

	Name of the Assignment
	EMPANELMENT OF DRE SERVICE PROVIDERS FOR SOLARIZATION OF ENTERPRISES AS IMMERSION SITES IN ODISHA 



	Date of Publishing RFP
	13th August 2026

	Seek Clarifications/Queries if Any
	14th August 2026

	Reply to Queries
	17th August 2026

	Last Date for Submission of bids
	21st August 2026

	Proposals to be submitted at
	procdelhi@pciglobal.in

	Receipt of Proposals
	Technical and Financial proposals should be submitted as separate attachments and to be submitted in a single email.
Financial Proposal MUST BE PASSWORD PROTECTED. 
Please do not include any price information/password to access the Proposal in Technical Proposal.



NOTE: 

a)
The agencies registered under the Societies/Trust/Foreign Contribution (Regulation) Act, 2010, are not required to submit applications. Proposals from these agencies will not be considered.

All queries from the bidders relating to this RFP must be submitted in writing to the email ID mentioned in the table above. Please do mention the RFP Number in the subject line. Any query received after the due date shall not be entertained. The queries can be submitted in the following format, or you may also use your own template to raise your queries.
	BIDDER’S REQUEST FOR CLARIFICATION

	Name of Organization submitting request
	Name & position of the person submitting the request
	Complete address of the organization, phone & email of the contact person

	
	
	Address:

	
	
	Tel:

	
	
	E-mail:

	Sr.
	Bidding document reference(s) (section number/page)
	Content of RFP requiring clarification
	Points of clarification

	1.
	
	
	

	2.
	
	
	


All queries should be sent through email only to the e-mail ID mentioned above. The procurement Team at PCI shall try to provide a complete, accurate, and timely response to queries from all the bidders. All responses given by the team will be distributed to all the bidders through email.
Please note that issuance of this RFP does not constitute an award/commitment on the part of PCI, nor does it commit PCI to pay for costs incurred in the preparation and submission of an application. In addition, the final award cannot be made until funds have been fully appropriated, allocated, and committed by PCI’s donors. While it is anticipated that these procedures will be successfully completed, potential applicants/bidders are hereby notified of these requirements and conditions for the award. Applications are submitted at the risk of the applicant/bidder; should circumstances prevent the award of a contract, all preparation and submission costs are at the applicant's expense.
Yours faithfully,
Procurement Team PCI India
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1. INTERPRETATION OF THE CLAUSES IN THE PROPOSAL DOCUMENT / CONTRACT DOCUMENT
In case of any ambiguity in the interpretation of any of the clauses in the Proposal Document or the Contract Document, the interpretation of PCI shall be final and binding on all parties.
2. LANGUAGE OF PROPOSAL
The proposal and documents shall be in English, and it should include applicant organization name, date, RFP number, and page number as a header or footer throughout the document.
3. SUPPLEMENTARY INFORMATION / CORRIGENDUM / AMENDMENT TO THE RFP
a.  If PCI deems it appropriate to revise any part of this RFP or to issue additional data to clarify an interpretation of the provisions of this RFP, it may issue supplements/corrigendum to this RFP.
Any such supplement shall be deemed to be incorporated by reference to this RFP.
b.  At any time prior to the deadline (or as extended by PCI) for submission of bids, PCI, for any reason, whether at its own initiative or in response to clarifications requested by prospective bidders may modify the RFP document by issuing amendment(s). All bidders will be notified of such amendment(s), and these will be binding on all the bidders.
c.  To allow bidders a reasonable time to take the amendment(s) into account in preparing their bids, PCI, at its discretion, may extend the deadline for the submission of bids.
4. DECISION TAKEN
a. The decision taken by PCI in the process of Proposal evaluation will be final and binding on all the bidders. The finalization of the Proposals will be done by a committee constituted by PCI for this purpose.
5. AWARD OF WORK
PCI reserves the right to shortlist deserving individuals and agencies and invite further discussion to ensure quality and cost-based selection (QCBS). PCI holds the right to award the contract to several bidders based on assessed capacity, innovation idea suggested, and other quality/ cost factors instead of a single contract holder. Hence individuals and agencies are expected to respond to the RFQ only if they agree to work in a multi-contract holder environment, fulfil the scope of work suggested, and meet the requirements as detailed.
6. TAXES AND DUTIES
The rates quoted shall be in Indian Rupees and shall be inclusive of all taxes, duties, and levies as applicable up to the completion of the job. Any increase in the rates will not be allowed. Base cost and rate of taxes charged should be clearly mentioned.
7. BINDING CLAUSE
All decisions taken by the PCI Procurement Committee regarding the processing of the Proposals and award of the contract shall be final and binding on all concerned parties.
8. VALIDITY OF BIDS
The proposal/bid should be valid for a period of 90 days from the date of Proposal submission to the PCI.
9. DISQUALIFICATION
The proposal is liable to be disqualified in the following cases or in case the bidder fails to meet the bidding requirements as indicated in this RFP:
a. Proposal not submitted in accordance with the procedure and formats prescribed in this document 
i. or treated as a non-conforming proposal.

b. During the validity of the proposal, or its extended period, if any, the bidder increases his quoted prices.
c. The bidder qualifies the proposal with his own conditions.
d. Proposal is received in incomplete form.
e. Proposal is received after due date and time.
f. Proposal is not accompanied by all the requisite documents.
g. If the bidder provides a quotation only for a part of the project
h. Information submitted in the technical proposal is found to be misrepresented, incorrect or                                                                       
i. Commercial/financial proposal is included in the technical proposal
j. Bidder tries to influence the proposal evaluation process by unlawful/corrupt/fraudulent means at any point of time during the bid process.

k. In case any one bidder submits multiple proposals or if common interests are found in two or more bidders, the bidders are likely to be disqualified, unless additional proposals/bidders are withdrawn upon notice immediately.
l. If the response to the pre-qualification criteria, technical proposal, and the entire documentation submitted along with that contain any information on price, pricing policy, pricing mechanism, or       any information indicative of the commercial aspects of the bid.
10. PCI’S RIGHT TO TERMINATE THE RFP PROCESS
a. PCI reserves the right to accept or reject any proposal, and to annul the RFP process and reject all proposals at any time prior to award of contract, without incurring any liability to the affected bidder or bidders or any obligation to inform the affected bidder or bidders of the grounds for PCI’s action. PCI makes no commitment, expressed or implied that this process will result in a business transaction with anyone.
b. This RFP does not constitute an offer by PCI. The bidder's participation in this process may result in PCI selecting the bidder to engage in further discussions and negotiations toward the execution of a contract. The commencement of such negotiations does not, however, signify a commitment by PCI to execute a contract or to continue negotiations. PCI may terminate negotiations at any time without assigning any reason.
c. Failure on the part of the selected agency to execute the Contract within the defined period may, unless mutually agreed between the parties, result in an award of the same work to another agency at the risk and cost of the Agency.
**END OF RFP INSTRUCTIONS**
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A technical review committee comprising representatives from PCI will review and score applications based 

on the following criteria. The highest scoring applicants will be short-listed. 

Proposals for this Assignment will be assessed in accordance with Quality and Cost-based selection (QCBS) system and 

involve both technical and commercial evaluation with the following weightage: 

	Technical Evaluation
	70%

	Financial Evaluation
	30%


Financial proposal of only those firms receiving minimum of 70% in technical evaluation will be opened and evaluated. 

The Financial proposals of those firms who don’t qualify in technical evaluation will not be considered for further process.
	S. No. 
	TECHNICAL EVALUATION CRITERIA
	Max. Marks*

	1
	Experience of the Agency
	40

	1.1
	Minimum 01 year experience and expertise with providing services related to Solarisation of Food Processing Units, Completed at least 10 commercial/industrial/domestic solar projects above 10 Kw, Specialized experience (e.g., solar, agro-processing, HVAC, civil works).
References/ Engagement letters demonstrating successful past engagements in similar projects (if any)
	20

	1.2
	The bidder must be an empanelled/registered vendor under the PM Surya Ghar Muft Bijli Yojana (PMSGY) and must be eligible to undertake installation and related works as per applicable MNRE/DISCOM guidelines. Copy of Certification required.
	20

	2
	Key professional staff qualifications and competence for the assignment/job.
	20

	2.1
	List of availability and competence of key staff , Experience of the Team Members in similar Projects, Relevant academic qualifications and certifications
	20

	3
	Timeline and Milestones
	10

	3.1
	Proposed methodology for site readiness, installation, commissioning, and handover.
	10

	
	TOTAL
	70

	S. No.
	FINANCIAL EVALUATION CRITERIA
	Max. Marks*

	1
	· Cost Structure (Breakdown of costs such as Supply of quality solar components, Installation, testing, and commissioning including fees for solarisation, certification if any, maintenance cost). 
· The cost-reasonableness and breakup of costs in the proposal.

· Financial Stability of the Bidder

· Favourable Payment terms
	30


Considering the technical and financial scorings, the Contract will be awarded to the Selected Bidder with the Most Advantageous Proposal.
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Topic: Empanelment of DRE Service Providers for Solarization of Enterprises as Immersion sites in Odisha 
PCI India would like to invite proposals from reputed DRE installation service provider firm (s) to provide service for field operations across all blocks of below districts for a period of 12 months. 
1) Jagatsinghpur

2) Mayurbhanj

3) Keonjhar

4) Balangir

5) Khorda

6) Dhenkanal

7) Puri 

Objective of the Assignment

The objective is to select experienced and technically competent vendors to provide end-to-end services for the solarization of the commercial unit, including:

· Detailed site survey and system design

· Supply of quality solar components

· Installation, testing, and commissioning

· Integration with existing electrical infrastructure

· Obtaining statutory approvals, as needed

· Operation & Maintenance (O&M) support

Specific solar products like Solar pumps, Solar dryers are also demanded in the project therefore, a specialized vendor dealing in these products can also apply. 
Scope of Work

A)  Site Assessment

· Conduct detailed site survey (rooftop/ground).

· Evaluate structural integrity, shading analysis, area availability.

· Assess electrical load and consumption patterns.

· Prepare solar system design (kW capacity to be proposed based on site data). 
· Ensure compliance with relevant standards (MNRE, BIS, DISCOM and others as maybe needed).

B) Supply requirement 

Vendor shall supply the following components (minimum standards): 

	S.No
	Specifications

	1
	Kw Size- 1KW to 20 KW (on-grid/off-grid/hybrid)

	      2
	Solar PV Modules: Tier-1, BIS certified, minimum 25-year performance warranty

	      3 
	Inverters: String/Hybrid/On-Grid inverters, minimum 5-year warranty

	     4
	GI structure - GI Module Structure (Rooftop & Earth mounted) 

· RAFTER

· PERLINE

· END CLAMP

· MID CLAMP

· BASE PLATE

· FASTENER

· Any other component, as required for ensuring quality installation

(Size as per assessment of site) 

	     5
	VFD 

	     6
	Wire- AC WIRE (4 sq mm for Cu)

          DC WIRE (On the basis of assessment of site 4 sq mm )  

	     7
	System Balance - 
· DC PROTECTION UNIT
· EARTHING (Copper bonded pipe Earthing)
· LIGHTNING ARRESTER
· MC4 CONNECTORS 
· CHEMICAL BAG

	8
	Installation – End to end installation of unit sites 

	9
	Net-Metering support

	10
	Transportation


Installation & Commissioning

· Complete installation including module mounting, cabling, inverter setup, earthing, and lightning protection.

· Perform system testing & commissioning.

· Integrate with grid and existing commercial electrical system.

Government scheme linkages for subsidy realization

· Government empanelled vendor for PM Surya Ghar Yojana (PMSGY) (1kw ULA, 2kw and 3kw), PM-KUSUM in Odisha

· Facilitate financing for entrepreneurs under central and state level schemes like PMFME or PMSGY and already have experience of such financing via local banks.
Regulatory Compliance

· Safety inspection certification

Deliverables

· Site Survey Report

· Supply & Installation of Solar PV System

· Commissioning Report

· Warranty & Test Certificates

· Regulatory Approval Documents.

· Including 2-year AMCs (with minimum 2 visits)
· Training of beneficiary on operating the solar system.
Solar unit installation Timeline

· Each unit to be solarized within 12 days after the submission of work order. 

· Work will be executed on the basis of workorder. 
**END OF APPENDIX A**
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I. ORGANIZATIONAL PROFILE
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Organization Name: Contact:
Title:

Address:

Telephone/Fax:

Email:

Website:

Incorporation/Registration Number:

1. Description of major projects implemented by your organization in the recent past (not more than three projects):
Project 1
	Client Name
	

	Title:
	(text here)

	Goal/Objective:
	(text here)

	Location:
	(text here)

	Time Period:
	(text here)

	Funder:
	(text here)

	Amount:
	(text here)


Project 2
	Client Name
	

	Title:
	(text here)

	Goal/Objective:
	(text here)

	Location:
	(text here)

	Time Period:
	(text here)

	Funder:
	(text here)

	Amount:
	(text here)


Project 3
	Client Name
	

	Title:
	(text here)

	Goal/Objective:
	(text here)

	Location:
	(text here)

	Time Period:
	(text here)

	Funder:
	(text here)

	Amount:
	(text here)


II. Technical Proposal should include documents related:
· Minimum 01 years of experience in solar installation. 

· Completed installation of at least 10 commercial/industrial/domestic solar projects installation in last FY with cumulative capacity of minimum 500kWp.

· Authorized distributor of any OEM. 

· Must be a Registered vendor of rolling out of PM -SURYAGHAR or Grid integrated solar plant with for the state or across TP DISCOM with net metering support mechanism. Copy of Certification required.
· Trained technical manpower for installation.

· Valid GST registration.

· PAN and company incorporation documents

· No-blacklisting declaration

III. ADDITIONAL INFORMATION
As appropriate, provide any additional information that demonstrates your capacity to manage similar assignments.


IV. AUTHORIZATION

Signature of authorized signatory Printed Name
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Title Date
**END OF APPENDIX B**
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I. Costs:
	S. No.
	Description of work
	Unit
	Unit Cost
	Total

	1.
	
	
	
	

	2.
	
	
	
	

	Total Value
	

	GST@xx
	

	Grand Total
	


II. Financial Proposal should include:
· Detailed and Itemized pricing (please see: Terms of Reference): Breakdown of costs such as Supply of quality solar components, Installation, testing, and commissioning including fees for solarization certification if any, maintenance cost, Transportation, insurance, and taxes and any other necessary and applicable direct cost to be considered with the proposal.
· Proposed Payment Terms:
· 50% On work order

· 30% On delivery of equipment

· 20% After installation & successful commissioning

PCI India will pay max 30% of the cost on work order and rest of the 70% will be paid by the enterprise owner or covered under subsidy or financed by third party. 

III. FINANCIAL INFORMATION
Please share the last three year’s audited turnover.
FY 2022 – 2023


FY 2023 – 2024


FY 2024 – 2025


· AUTHORIZATION

Signature of authorized signatory Printed Name
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Title

Date
**END OF APPENDIX C**
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I / We Proprietor/ Partner(s)/ Director(s) of M/S.
_hereby declare
that the firm/company namely M/S_
has not been
blacklisted or debarred in the past by PCI or any other organization from taking part in bids.
Or
I / We Proprietor/ Partner(s)/ Director(s) of M/S.
hereby declare
that the firm/company namely M/S_
was blacklisted or
debarred by PCI or other organization from taking part in bids for a period of
years
w.e.f

The period is over on
and now the firm/company is entitled to take part in bids.
In case the above information found false I/We are fully aware that the proposal/ contract will be rejected/cancelled by PCI. In addition to the above PCI will not be responsible to pay the bills for any completed / partially completed work.
Signature :
Name:
Capacity in which as signed: Name & address of the firm:

Date:
Signature of Bidder with seal.
**END OF APPENDIX D**
RFP INSTRUCTIONS





APPLICATION EVALUATION CRITERIA





‘’APPENDIX-A’’- TERMS OF REFERENCE





‘’APPENDIX-B’’- TECHNICAL PROPOSAL TEMPLATE





(text here)





‘’APPENDIX-C’- FINANCIAL PROPOSAL TEMPLATE’





‘’APPENDIX-D’’- DECLARATION REGARDING BLACKLISTING/DEBARRING





Seal of the firm/institution should be Affixed.










