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	Jhpiego Corporation, India

	REQUEST FOR PROPOSAL (RFP)

	SUBJECT: RFP-Hiring an agency/agencies to provide Supply, Delivery and Technical Support of Diagnostic Kits 

	ISSUE DATE: September 17, 2026

	SUBMISSION DEADLINE: September 30, 2026 

	SUBMISSION ADDRESS:  jhpin.procurement@jhpiego.org (For submission of proposals)

Email: Ankur.Bhardwaj@jhpiego.org (For queries only) - submit queries by September 25, 2026 (only with subject line “Queries - Diagnostic kits under GHS- RISE”
Office Telephone: Tel: +91 11 49575100 

	BID OPENING: -October 1, 2026 

	AWARD /START DATE (selection of partner)- October 30, 2026

	About Jhpiego:

Jhpiego is a nonprofit global health leader and Johns Hopkins University affiliate that is saving lives, improving health, and transforming futures. We partner with governments, health experts and local communities to build the skills and systems that guarantee a healthier future for women and families. Jhpiego translates the best science and practice into moments of care that can mean the difference between life and death for women and families. The moment a woman gives birth; the moment a midwife helps a newborn to breathe. Through our partnerships, we are revolutionizing health care for the world’s most disadvantaged and vulnerable people. 

In India, Jhpiego works across various states in close collaboration with national and state governments, providing technical assistance in the areas of family planning, maternal and child health, strengthening human resources for health, and non-communicable diseases. These programs are funded by Takeda Pharmaceutical Company Limited, Unitaid, UNICEF, World Health Organization, University of Manitoba, Bill & Melinda Gates Foundation, Children’s Investment Fund Foundation (CIFF), MSD for Mothers and others. Multiple programs implemented by Jhpiego with different state governments have specific learning agenda and objectives. Each program involves wide range of data collection in various implementation geographies across India. 

	Objective-The objective of this procurement is to select a qualified agency/agencies for the supply of multiple kits as per specifications mentioned in technical specifications in RFP.
Location- Multiple as mentioned in RFP. 

	Preferred vendor: No

	This RFP includes following:

Section 1 - Instructions to bidders 

Section 2 - Technical Proposal - Standard Template 
Section 3 - Financial Proposal - Standard Template 
Section 4 – Kits specifications 
Section 5 – Vendor Information Form– Standard Template


SECTION - 01

Instructions to Bidder

1. Clarification and Amendment of RFP Documents- Bidder may request clarification on any clause of the RFP documents up to the date queries submission date. Any request for clarification must be sent in writing on email specified above.

2. Proposal Validity – must remain valid for a minimum of 90 days after the submission date. During this period, bidder shall maintain the availability of Professional staff nominated in the Proposal and the financial proposal unchanged. The purchaser will make its best effort to complete negotiations within this period. Should the need arise, however, the purchaser may request bidder to extend the validity period of their proposals. 

3. Preparation of bid

3.1  The bid as well as all related correspondence exchanged by the bidders and the purchaser, shall be written in English language, unless specified otherwise.

3.2 In preparing their Proposal, Consultants are expected to examine in detail the documents comprising the RFP. Material deficiencies in providing the information requested may result in the rejection of a Proposal.

3.2.1 Depending on the nature of the Assignment/job, bidder is required to submit a Technical Proposal (TP) in forms provided in Section-2. Form Technical in Section-2 is a sample letter of technical proposal which is to be submitted along with the technical proposal.

3.3 A brief description of the bidder’s organization will be provided in Form Technical-2. In the same Form, the bidder will provide details of experience of assignments which are similar to the proposed assignment/ job as per the scope of work.

3.4 Comments and suggestions on the scope of work including workable suggestions that could improve the quality/ effectiveness of the Assignment/job; and on requirements for counterpart staff and facilities including administrative support, office space, Domestic transportation, equipment, data, etc. to be provided by the Employer/client (Form Technical-3 of Section 2).

3.5 The Technical Proposal shall not include any financial information. A Technical Proposal containing financial information may be declared non-responsive.
3.6 Financial Proposals: The Financial Proposal shall be prepared using the attached Standard Forms (Section 3). It shall list all costs associated with the Assignment/job, including (a) remuneration for staff and (b) reimbursable expenses. The financial proposal shall not include any conditions attached to it and any such conditional financial proposal shall be rejected summarily.

3.7 The bidder shall fully familiarize themselves about the applicable to Domestic taxes on amounts payable by the purchaser under the Contract. All such taxes must be included by the bidder in the financial proposal.

3.8 Currency -bidder shall express the price of their Assignment/job in India Rupees.

3.9 Delay submitted proposal shall be rejected only Procurement committee will have the right to consider in specific situation. 

3.10 Incomplete application forms are liable to be rejected. No further correspondence will be entertained from rejected applicants. 

3.11 The application of the selected agency should be signed by the authorised signatory confirming that all the details furnished in the application are true and correct to the best of his/her knowledge and that in case any false information or suppression of any material information is furnished, the application shall be liable for rejection by Jhpiego Corporation.

3.12 This RFP does not commit Jhpiego to award a grant / contract or to pay any costs incurred in the preparation of a Proposal for the goods and/or services offered.

3.13 Jhpiego reserves the right to accept or reject any or all proposals received as a result of this request, to negotiate with all qualified applicant(s) or to cancel this RFP, if it is in the best interests of Jhpiego to do so. The decision of Jhpiego shall be final.

4. Submission of bid

4.1 Bidders need to submit their bids electronically to jhpin.procurement@jhpiego.org as mentioned above. 
4.2 Two bid system: - The bidder shall submit their bids mentioning the Bid Reference - RFP-Hiring an agency/agencies to provide Supply, Delivery and Technical Support of Diagnostic Kits via e-mail following the two-bid system comprising of 1. Technical bid and financial bid. 
4.3 Financial bid (in a PDF non-editable format and password protected) indicating item-wise price as format given in section-3. 

IMPORTANT NOTE: 

4.2.1 The Technical Proposal and Financial Proposal should be submitted as two separate non-editable PDF attachments via e-mail to jhpin.procurement@jhpiego.org Both the above separate files should clearly mention the name of the file as Technical Bid or Financial Bid along with the name of the bidder.  Please note that the Financial Proposals should be password protected. 

4.2.2 The Password need to be disclosed/confirmed by bidder at the time of financial bid opening. Bid will be rejected if bidder will not able to provide password of their financial bid.  

4.2.3 Due to technical reasons, bids up to 10 MB can be received at the above-mentioned e-mail ID.  In case, the bid size is more than 10 MB, bidders are requested to send their bids in parts, clearly indicating the total no. of mails/attachments sent by the bidder. These bids sent through e-mail in parts from one bidder should be from the same e-mail ID.

5. Evaluation, Negotiation and Agreement: 

All proposals satisfying the requirements of this RFP will be evaluated to establish which of the applicant(s) best fulfils the needs of Jhpiego.

5.1 Essential Eligibility Criteria-
	S. No.
	Eligibility Requirement

	1
	The bidder must be a legal entity registered in India. The bidder must submit a copy of the Certificate of Incorporation/Registration, PAN Card, and GST Registration Certificate.

	2
	The bidder must have an average annual turnover of at least one crore during the last three financial years. (please share turnover certificate signed by CA)


5.2 Standard Evaluation Criteria: Table-I
	S. No.
	Evaluation Criteria
	Yes/No

	1
	Technical Capacity: Documented proof of experience and ability to produce and deliver the required quantities.
	 

	2
	Performance Record: Past performance with WHO, other UN agencies, or international organizations would be preferred
	 

	3
	Financial Stability: Evidence that the company is financially stable and capable of fulfilling the procurement requirements.
	 

	4
	Regulatory Standing: Compliance with local regulations and quality standards.
	 

	5
	Risk Mitigation Potential: Demonstrates ability to identify, assess, and mitigate potential risks associated with the pharmaceutical’s performance, safety, and regulatory compliance
	


Supplier Evaluation Criteria: Table-II

	S. No.
	Evaluation Criteria
	Yes/No

	
	Company Compliance
	

	1
	Valid registration certificate, business license, bank details
	

	2
	Evidence of supplier registration with appropriate regulatory body for distribution of pharmaceuticals
	

	3
	Documentation of compliance with Good Storage and Distribution Practices (GSDP) as defined by the WHO (https://www.who.int/publications/m/item/trs-1025-annex-7). 

a. Vendor provides a certificate or audit report demonstrating compliance to GSDP; Vendor provides certificate of registration with local regulatory authority with oversight of the same. 
	

	4
	Quality Management System ISO certificates pertaining to the company if applicable. For example:

ISO 9001:2015 relates to the verification of a quality management system by a third party
	

	
	Manufacturer and Product Compliance
	

	5
	Documentation of the product regulatory status from the national regulatory authority 

a.
If the pharmaceutical has a US patent, the vendor / distributor must obtain US FDA approval and certification. 
	

	6
	Quality Management System ISO certificates from the drug Manufacturer, if applicable. For example, ISO 13485:2016 relates to medical devices and diagnostic test kits
	

	7
	Drug information sheet with essential product information including the generic name, strength, presentation, dosage form, specific manufacturer and manufacturing site and instructions for use. Please indicate whether the product is on the WHO List of Prequalified Medicinal Product
	


Technical evaluation criteria-
	No.
	Criterion
	Evaluation basis
	Marks

	1
	Product performance and strength of supporting evidence
	Approved IFU, regulatory evidence, independent studies, reference method and robustness of claims.
	25

	2
	Compatibility with intended equipment and workflow (Applicable for RTPCR kits)
	Instrument/model compatibility, channels, extraction, accessories, throughput and workflow fit.
	15

	3
	Shelf life, stability and storage profile
	Remaining shelf life, stability evidence, open-vial/open-pouch stability and storage suitability.
	10

	4
	Quality management and manufacturing controls
	QMS scope, manufacturing-site alignment, batch release and CoA controls.
	10

	5
	Relevant supply experience and performance record
	Similar products, timely delivery, complaints and client references.
	10

	6
	Cold-chain, storage and distribution capability
	Qualified packaging, temperature monitoring, data loggers, excursion SOP and contingency plan.
	10

	7
	Sample/demo usability, where requested
	Labelling, IFU clarity, kit completeness, ease of use, invalid rate and result interpretation.
	10

	8
	Recall, complaint handling and replacement support
	Traceability, response time, investigation, recall and replacement arrangement.
	5

	9
	Training and technical support
	Training plan, response time and competent support personnel.
	3

	10
	Environmentally responsible secondary packaging
	Recyclable/reduced packaging without compromising product safety or cold-chain integrity.
	2

	 
	Total Marks
	100


Minimum qualifying criteria for technical- Minimum 70 marks required out of 100 marks for technical qualification.

5.3 Method of Selection- The technical proposal will be given a weightage of 70 %. The price bids of only those bidders who qualify technically will be opened. The proposal with the lowest cost may be given a financial score of 100 and the other proposal given financial score that are inversely proportionate to their prices. The financial proposal shall be allocated weight of 30%. For working out the combined score, the employer/client will use the following formula:

Total points = T (w) x T (s) + F (w) x LEC / EC, where

T (w) stands for weight of the technical score.

T (s) stands for technical score

F (w) stands for weight of the financial proposal

EC stands for Evaluated Cost of the financial proposal

LEC stands for Lowest Evaluated Cost of the financial proposal.

The proposals will be ranked in terms of total points scored. The proposal with the highest total points (H-1) will be considered for award of contract and will be called for negotiations, if required.

5.4  Negotiations- Negotiations will be held at the date, time and address intimated to the qualified and selected bidder. The invited bidder will, as a pre-requisite for attendance at the negotiations, confirm availability of all Professional staff. Representatives conducting negotiations on behalf of the bidder must have written authority to negotiate and conclude a Contract.

5.4.1 [image: image3.jpg]® Jhpiego

an affiliate of Johns Hopkins University



Technical negotiations: Negotiations will include a discussion of the Technical Proposal, the proposed technical approach and methodology, work plan, and organization and staffing, and any suggestions made by the bidder to improve the Terms of Reference/ scope of work. The Employer/client and the Consultants will finalize the Terms of Reference, staffing schedule, work schedule, logistics, and reporting. These documents will then be incorporated in the Contract as “Scope of work”.

5.4.2  Financial negotiations: After the technical negotiations are over, financial negotiations should be carried out in order to reflect any change in financials due to change in scope of work or due to clarification on any aspect of the technical proposal during the technical negotiations. Under no circumstance, the financial negotiation shall result in to increase in the price originally quoted by the consultant. Unless there are exceptional reasons, the financial negotiations will involve neither the remuneration rates for staff nor other proposed unit rates. 

5.5 Award of Contract- After completing negotiations the purchaser shall issue a Valid Purchase order to the selected agency and promptly notify all other bidders who have submitted proposals about the decision taken.

5.6 Confidentiality- Information relating to evaluation of Proposals and recommendations concerning awards shall not be disclosed to the bidders who submitted the Proposals or to other persons not officially concerned with the process, until the publication of the award of Contract.

5.7 The information provided in this RFP is intended to give bidders an overview of the project   and its requirements. It is indicative and not exhaustive. Jhpiego reserves the right to modify, add, or remove elements of the scope as deemed necessary during the tender process or subsequent stages
SECTION - 02
Technical Proposal - Standard Forms
· Interested agencies must submit a complete proposal, including all the required components. Incomplete submissions may not be considered for evaluation.

· Provide the supporting documents as specified under the Essential Elements table in the RFP.

· Additionally, share all relevant documents and information in line with the Supplier Evaluation Criteria outlined in Table I and Table II.

· Submit detailed product information and technical specifications for the proposed kits in accordance with the requirements outlined in the attached Technical Specifications of Kits (Annexure I).
· The vendor shall be responsible for end-to-end delivery, including:
· Required items as per approved specification- please refer annexure-I.

· Supply of all items should be as per our delivery location- please refer below tables. 
· Supply of all items should be as per our delivery schedule as per below table and remaining quantity in staggered manner. 
· Vendor will provide training to Jhpiego's in-house team.

· Delivery, Inspection, Acceptance and Shelf Life- All delivered product should be more than (60%-80%) of their self-life. 
· Recall, Complaints, Training and Support -Share replacement clause, cold-chain evidence, quality inspection details need to be inbuilt.
	 
	 
	Human Health

	 
	 
	Andhra Pradesh
	Madhya Pradesh
	Uttar Pradesh
	Odisha
	Mizoram

	Kit Type and  Pack size
	Pathogen
	Kits Quantity required

	PCR/ RT-PCR/ Real-time PCR
 (96 reactions/ kit)
	Real Time PCR for Leptospirosis
	 
	 
	 
	2
	 

	
	Real Time PCR for Brucellosis
	 
	 
	 
	2
	 

	
	RTPCR for Influenza A & B
	 
	2
	 
	 
	6

	
	RTPCR for RSV
	 
	 
	 
	 
	2

	
	Multiplex PCR/RT-PCR for Meningitis Panel
	 
	 
	 
	 
	1

	ELISA 
(96 tests/ kit)
	ELISA for Leptospirosis
	5
	1
	 
	16
	3

	
	ELISA for Brucellosis
	12
	1
	12
	 
	 

	
	ELISA for Scrub typhus
	 
	1
	 
	9
	 

	
	ELISA for Toxoplasmosis
	 
	 
	6
	 
	 

	
	ELISA for Dengue
	 
	 
	 
	8
	2

	
	ELISA for JE
	 
	 
	 
	2
	1

	
	ELISA for Chikungunya
	 
	 
	 
	2
	 

	Rapid Detection Test
(100 tests/kit) 
	RDT for Chikungunya
	 
	 
	 
	2
	 

	
	RTD for Dengue
	 
	 
	 
	12
	3

	
	RDT for Influenza A & B
	 
	 
	 
	4
	1

	
	RDT for Leptospirosis
	5
	 
	 
	10
	 

	
	RDT for Scrub Typhus
	 
	 
	 
	15
	 

	
	RDT for Vibrio cholerae
	 
	 
	 
	10
	5

	 
	 
	 
	 
	 
	 
	163


	Vet Health

	Kit Type and  Pack size
	Pathogen
	Andhra Pradesh
	Uttar Pradesh
	Odisha

	ELISA 
(96 tests/ kit)
	ELISA for Leptospirosis
	6
	8
	6

	
	ELISA for Brucellosis
	8
	8
	4

	
	ELISA for IBR
	 
	5
	 

	
	ELISA for Toxoplasmosis
	 
	5
	 

	Rapid Detection Test
(100 tests/kit)
	RDT for Brucella
	5
	 
	3

	
	RDT for Leptospirosis
	5
	 
	3

	 
	 
	 
	 
	66


FORM TECHNICAL - 01
LETTER OF PROPOSAL SUBMISSION





[Location, Date]
To:
[Name and address of bidder]
Dear Sirs:
We, the undersigned, offer to provide the consulting Assignment/job for [Insert title of RFP] in accordance with your Request for Proposal dated [Insert Date] and our Proposal. We are hereby submitting our Proposal, which includes this Technical Proposal, and a Financial Proposal. 
We hereby declare that all the information and statements made in this Proposal are true and accept that any misinterpretation contained in it may lead to our disqualification.
If negotiations are held during the period of validity of the Proposal, we undertake to negotiate on the basis of the proposed staff. Our Proposal is binding upon us and subject to the modifications resulting from Contract negotiations.
We understand you are not bound to accept any Proposal you receive.
We remain,
Yours sincerely,
Authorized Signature [In full and initials]:
Name and Title of Signatory:
Name of Firm:
 Address:
FORM TECHNICAL – 03
COMMENTS / MODIFICATIONS SUGGESTED ON DRAFT CONTRACT
[Here the bidder shall mention any suggestion / views on the draft contract attached with the RFP document. The bidder may also mention here any modifications sought by him in the provisions of the draft contract. This information shall be used at the time of the negotiations. However, the Purchaser is not bound to accept any/all modifications sought and may reject any such request of modification.
SECTION - 03
Financial Proposal - Standard Forms

Financial Proposal- (in the prescribed format. summary of budget detailed budget and budget notes in separate sheet with password protected file). 

FORM FINANCIAL – 01

Financial Proposal Submission Form

[Location, Date]

To:

[Name and address of bidder]

Dear Sirs:

We, the undersigned, offer to provide the consulting Assignment/job for [Insert title of Assignment/job] in accordance with your Request for Proposal dated [Insert Date] and our Technical Proposal. Our attached Financial Proposal is for the sum of [Insert amount(s) in words and figures1]. This amount is inclusive of the Domestic taxes. We hereby confirm that the financial proposal is unconditional and we acknowledge that any condition attached to financial proposal shall result in reject of our financial proposal.

Our Financial Proposal shall be binding upon us subject to the modifications resulting from Contract negotiations, up to expiration of the validity period of the Proposal.

We understand you are not bound to accept any Proposal you receive.

We remain,


Yours sincerely,

Authorized Signature [In full and initials]:

Name and Title of Signatory:

Name of Firm:

Address:

FORM FINANCIAL–02

	S.No.
	Category
	Product/Test
	Standard pack
	Initial firm qty
	Estimated additional qty
	Unit Cost
	GST
	Unit total Amount (Inc. GST)

	1
	Human RT-PCR
	Real Time PCR for Leptospirosis
	96 reactions
	2
	0
	
	
	

	2
	Human RT-PCR
	Real Time PCR for Brucellosis
	96 reactions
	2
	0
	
	
	

	3
	Human RT-PCR
	RT-PCR for Influenza A & B
	96 reactions
	2
	6
	
	
	

	4
	Human RT-PCR
	RT-PCR for RSV
	96 reactions
	2
	0
	
	
	

	5
	Human RT-PCR
	Multiplex RT-PCR Meningitis/Encephalitis Panel
	96 reactions
	1
	0
	
	
	

	6
	Human ELISA
	Leptospira IgM ELISA
	96 wells
	2
	23
	
	
	

	7
	Human ELISA
	Brucella IgM ELISA
	96 wells
	2
	23
	
	
	

	8
	Human ELISA
	Scrub Typhus IgM ELISA
	96 wells
	2
	8
	
	
	

	9
	Human ELISA
	Toxoplasmosis IgM/IgG ELISA
	96 wells
	2
	4
	
	
	

	10
	Human ELISA
	Dengue IgM Capture ELISA
	96 wells
	2
	8
	
	
	

	11
	Human ELISA
	Japanese Encephalitis IgM ELISA
	96 wells
	2
	1
	
	
	

	12
	Human ELISA
	Chikungunya IgM ELISA
	96 wells
	2
	0
	
	
	

	13
	Human RDT
	Chikungunya IgM/IgG RDT
	100 tests
	2
	0
	
	
	

	14
	Human RDT
	Dengue NS1/IgM/IgG RDT
	100 tests
	15
	0
	
	
	

	15
	Human RDT
	Influenza A & B RDT
	100 tests
	5
	0
	
	
	

	16
	Human RDT
	Leptospira IgM/IgG RDT
	100 tests
	15
	0
	
	
	

	17
	Human RDT
	Scrub Typhus RDT
	100 tests
	15
	0
	
	
	

	18
	Human RDT
	Vibrio cholerae O1/O139 RDT
	100 tests
	15
	0
	
	
	

	19
	Veterinary ELISA
	Leptospira ELISA
	96 wells
	4
	16
	
	
	

	20
	Veterinary ELISA
	Brucella ELISA
	96 wells
	4
	16
	
	
	

	21
	Veterinary ELISA
	IBR ELISA
	96 wells
	2
	3
	
	
	

	22
	Veterinary ELISA
	Toxoplasma ELISA
	96 wells
	2
	3
	
	
	

	23
	Veterinary RDT
	Brucella RDT
	100 tests
	4
	4
	
	
	

	24
	Veterinary RDT
	Leptospira RDT
	100 tests
	4
	4
	
	
	

	Total amount (Inc. GST) 
	


Financial Proposal contains-
1. Financial proposals shall be submitted separately in password-protected, non-editable PDF format. The password shall be provided only when requested for the financial opening.

2. Prices shall be firm and fixed and shall include packing, forwarding, freight, transit insurance, loading, unloading, cold-chain maintenance, temperature monitoring, installation/assistance where required, training and all other costs necessary for delivery to the consignee. GST shall be shown separately.

3. Bidders shall state manufacturer, brand, catalogue number, country of manufacture, offered pack size, reportable tests/reactions, control/calibration consumption, quantity, unit price, price per reportable test, freight/cold-chain charges, GST, HS code, total delivered price, lead time and offered shelf life.

4. Where pack sizes differ, the evaluated quantity and price will be normalized to the required number of usable/reportable tests or reactions. Price per kit alone will not be used for comparison.

5. Jhpiego may seek written justification for an abnormally low price where it creates concern regarding authenticity, quality, shelf life, logistics or contract performance.

Delivery, Inspection, Acceptance and Shelf Life
1. Products shall be delivered only by written contract and to the consignee locations stated in the final RFP or contract.
2. Risk of loss remains with the supplier until delivery, inspection and acceptance at the designated consignee location.

3. Each shipment shall include invoice, delivery note, batch/lot details, manufacturing and expiry dates, CoA, IFU, temperature record where applicable, and traceability information.

4. Jhpiego may inspect packaging, labels, licenses, batch documentation, temperature records, shelf life and quantities and may conduct or commission sample testing.

5. Products damaged in transit, exposed to an unacceptable temperature excursion, counterfeit/suspect, short-dated, incorrectly labelled, incomplete or otherwise nonconforming may be rejected.

6. The supplier shall replace rejected or recalled products at no additional cost, including collection, freight and disposal, within 20 calendar days of notification.

7. At delivery, each product shall have at least 60%-80% of its labelled shelf life remaining and, unless an item-specific condition states otherwise, not less than nine months remaining shelf life. Any exception requires prior written approval.

8. For cold-chain products, the supplier shall use qualified packaging and provide shipment-level temperature evidence. Any excursion shall be assessed against manufacturer stability data and reported immediately.

Recall, Complaints, Training and Support

1. The supplier shall maintain batch-to-consignee traceability and notify Jhpiego immediately of any recall, field safety corrective action, regulatory suspension or material product-quality issue.

2. Product complaints shall be acknowledged within one-two business day. A preliminary investigation shall be provided within five business days and final root-cause/corrective-action findings within an agreed timeline.

3. The supplier shall replace defective products and products affected by confirmed quality failure or recall at no cost.

4. Training shall cover storage, kit preparation, test procedure, internal quality control, result interpretation, biosafety precautions, troubleshooting, waste handling and complaint reporting. Training dates and participant numbers will be agreed in the purchase order.

5. Technical support shall be available by telephone/email during business hours, with escalation arrangements for urgent product-quality issues.

Authorized Signature

Name: ………………

Designation ………………

Name of firm: …………..

Address: …………………

Section – 04 
Annexure-I (Kits Specifications)
Technical Specification for RT-PCR Kits-Human Health

	S.No.
	Pathogen
	TEST
	Quantity of kits to be procured
	Initial Procurement

	1
	Leptospira
	Real Time PCR for Leptospirosis
	2
	2

	2
	Brucella
	Real Time PCR for Brucellosis
	2
	2

	3
	Influenza A & B
	RTPCR for Influenza A & B
	8
	2

	4
	RSV
	RTPCR for RSV
	2
	2

	5
	Meningitis
	Multiplex RT-PCR for Meningitis Panel
	1
	1


Technical specification RT-PCR Kits for Leptospira spp: Quantity 2 kits 
Real Time PCR Kit for Leptospira
CE-IVD Approved, For in-vitro diagnostic use 

Assay type: Qualitative, 

Testing Principle: One-step 

Reaction type: Multiplex Reaction in a Single Tube 

Compatibility with Real Time PCR System: Open Ended 

Sample compatibility: Blood, Serum, Plasma, Body Fluid, Oropharyngeal swab, Nasopharyngeal swab

Sensitivity: > 99%, Specificity: ≥ 99% 

Pack Size of the Kit (number of reactions/tests): 24/48/96 
Shelf life from the date of manufacture when stored at recommended temperature (in months): 12 to 18 months
Original kit inserts in English should be provided with the kit 

Type of Fluorescent Probe used for the detection: Based on TaqMan Chemistry Probe 

Internal control, Positive control, Negative control should be provided with each pack of kit

Regulatory Requirements: Must hold valid CDSCO/DCGI Import License or Manufacturing License, as applicable.


Documentation: Manufacturer's Instructions for Use (IFU), Certificate of Analysis (CoA), and Product Data Sheet shall be provided with the kit.


Shipping Conditions: Must be supplied under validated cold-chain conditions as recommended by the manufacturer.

Reference

https://mkp.gem.gov.in/real-time-pcr-kits-v2/huwel-quantiplus-leptospira-fast-detection-kit-real-time/p-5116877-26700891755-cat.html#variant_id=5116877-26700891755

Technical specification RT-PCR Kits for Brucellosis spp: Quantity 2 kits
Real Time PCR Kit for Brucella
CE-IVD Approved, For in-vitro diagnostic use 

Assay type: Qualitative, 

Testing Principle: One-step 

Reaction type: Multiplex Reaction in a Single Tube. Multiplex reaction in a single tube with simultaneous detection of Brucella target and Internal Control.

Compatibility with Real Time PCR System: Open Ended 

Sample compatibility: Human whole blood, serum, plasma, bone marrow aspirate, lymph node aspirate, synovial fluid, and other clinically relevant specimens.

Sensitivity: > 95%, Specificity: ≥ 98% 

Pack Size of the Kit (number of reactions/tests): 24/48/96 
Shelf life from the date of manufacture when stored at recommended temperature (in months): 12 to 18 months
Original kit inserts in English should be provided with the kit 

Type of Fluorescent Probe used for the detection: Based on TaqMan Chemistry Probe 

Internal control, Positive control, Negative control should be provided with each pack of kit

Regulatory Requirements: Must hold valid CDSCO/DCGI Import License or Manufacturing License, as applicable.


Documentation: Manufacturer's Instructions for Use (IFU), Certificate of Analysis (CoA), and Product Data Sheet shall be provided with the kit.


Shipping Conditions: Must be supplied under validated cold-chain conditions as recommended by the manufacturer.

Reference

· https://www.creative-diagnostics.com/ivd-materials/brucella-real-time-pcr-kit-item-pcr-wn-144-14140.html

· https://journals.asm.org/doi/10.1128/spectrum.00582-23
Technical specification RT-PCR Kits for Influenza A/B: Quantity 8 kits (With 2 kits for procurement now)
Real Time PCR Kit for Influenza A/B
CE-IVD Approved, For in-vitro diagnostic use 

Assay type: Qualitative, 

Testing Principle: One-step 

Reaction type: Multiplex Reaction in a Single Tube 

Compatibility with Real Time PCR System: Open Ended 

Sample compatibility: Blood, Serum, Plasma, Tissue, Body Fluid. CSF, Cell Culture, Vesicular fluid, Oropharyngeal swab, Nasopharyngeal swab 

Sensitivity: > 99%, Specificity: ≥ 99% 

Pack Size of the Kit (number of reactions/tests): 24/48/96 
Shelf life from the date of manufacture when stored at recommended temperature (in months): 12 to 18 months
Original kit inserts in English should be provided with the kit 

Type of Fluorescent Probe used for the detection: Based on TaqMan Chemistry Probe 

Internal control, Positive control, Negative control should be provided with each pack of kit

Regulatory Requirements: Must hold valid CDSCO/DCGI Import License or Manufacturing License, as applicable.


Documentation: Manufacturer's Instructions for Use (IFU), Certificate of Analysis (CoA), and Product Data Sheet shall be provided with the kit.


Shipping Conditions: Must be supplied under validated cold-chain conditions as recommended by the manufacturer.

Technical specification RT-PCR Kits RSV: Quantity 2 kits 
Real Time PCR Kit for respiratory syncytial virus (RSV)
CE-IVD Approved, For in-vitro diagnostic use 

Assay type: Qualitative, 

Testing Principle: One-step 

Reaction type: Multiplex Reaction in a Single Tube 

Compatibility with Real Time PCR System: Open Ended 

Sample compatibility: Blood, Serum, Plasma, Tissue, Body Fluid. CSF, Cell Culture, Vesicular fluid, Oropharyngeal swab, Nasopharyngeal swab 

Sensitivity: > 99%, Specificity: ≥ 99% 

Pack Size of the Kit (number of reactions/tests): 24/48/96 
Shelf life from the date of manufacture when stored at recommended temperature (in months): 12 to 18 months
Original kit inserts in English should be provided with the kit 

Type of Fluorescent Probe used for the detection: Based on TaqMan Chemistry Probe 

Internal control, Positive control, Negative control should be provided with each pack of kit

Regulatory Requirements: Must hold valid CDSCO/DCGI Import License or Manufacturing License, as applicable.


Documentation: Manufacturer's Instructions for Use (IFU), Certificate of Analysis (CoA), and Product Data Sheet shall be provided with the kit.


Shipping Conditions: Must be supplied under validated cold-chain conditions as recommended by the manufacturer.

Technical specification RT-PCR Kits for Meningitis / Encephalitis Pathogen Detection Panel

Quantity 1 kit
Real Time PCR Kit for Meningitis / Encephalitis Pathogen Detection Panel
CE-IVD Approved, For in-vitro diagnostic use 

Assay type: Qualitative detection and identification of meningitis/encephalitis-causing pathogens (bacterial, viral, and fungal) in a single assay.

Testing Principle: One-step 

Reaction type: Multiplex Reaction in a Single Tube 

Compatibility with Real Time PCR System: Open Ended 

Sample compatibility: Human cerebrospinal fluid (CSF). The kit should be validated for CSF specimens collected by lumbar puncture.

Sensitivity: > 95%, Specificity: ≥ 98% 

Pack Size of the Kit (number of reactions/tests): 24/48/96 
Shelf life from the date of manufacture when stored at recommended temperature (in months): 12 to 18 months
Original kit inserts in English should be provided with the kit 

Type of Fluorescent Probe used for the detection: Based on TaqMan Chemistry Probe 

Internal control, Positive control, Negative control should be provided with each pack of kit

Regulatory Requirements: Must hold valid CDSCO/DCGI Import License or Manufacturing License, as applicable.


Documentation: Manufacturer's Instructions for Use (IFU), Certificate of Analysis (CoA), and Product Data Sheet shall be provided with the kit.


Shipping Conditions: Must be supplied under validated cold-chain conditions as recommended by the manufacturer.

Reference

· BIOFIRE® FILMARRAY® Meningitis/Encephalitis Panel. [biomerieux.com], [biomerieux.com]
· Seegene Allplex™ Meningitis Panel Assays (CE-IVD). [seegene.com]
· Genes2Me MCP-Q Comprehensive Real-Time PCR Kit for Meningitis Pathogens. [genes2me.com]
	S.No.
	Pathogen
	TEST
	Quantity of kits to be procured
	Initial Procurement

	1
	Leptospirosis (Leptospira spp.)
	Leptospira IgM ELISA on serum
	25
	2

	2
	Brucellosis (Brucella spp.)
	Brucella IgM ELISA on serum
	25
	2

	3
	Scrub typhus (Orientia tsutsugamushi)
	Scrub typhus IgM ELISA on serum
	10
	2

	4
	Toxoplasma gondii
	Toxoplasmosis IgM/IgG ELISA on serum or plasma
	6
	2

	5
	Dengue virus
	Dengue IgM ELISA on serum
	10
	2

	6
	Japanese Enchephalitis virus (JEV)
	Japanese Enchephalitis IgM ELISA on serum
	3
	2

	7
	Chikungunya virus
	Chikungunya IgM ELISA on serum
	2
	2


ELISA for Human Health

Leptospira IgM ELISA : Quantity 25 kits (with 2 kit procurement for now) 
· Intended Use: Qualitative detection of IgM antibodies to Leptospira in human serum for the diagnosis of acute leptospirosis.

· Format: Solid-phase Enzyme-Linked Immunosorbent Assay (ELISA) in a 96-well microtiter plate format.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.

· Diagnostic Performance:

· Sensitivity: ≥ 96%

· Specificity: ≥ 95%
· Antigen Coverage: Must be demonstrated to detect infections caused by a broad range of L. interrogans serovars (e.g., hardjo, pomona, canicola, icterohaemorrhagiae).

· Sample Type: Validated for human serum 

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 9 months from the date of supply/delivery.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Brucella IgM ELISA : Quantity 25 kits (with 2 kit procurement for now)
· Intended Use: Qualitative detection of IgM antibodies against Brucella species in human serum or plasma for the diagnosis of acute brucellosis. 

· Format: Solid-phase Enzyme-Linked Immunosorbent Assay (ELISA) based on indirect or IgM capture principle in a 96-well microtiter plate format.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.

· Diagnostic Performance:

· Sensitivity: ≥ 95%

· Specificity: ≥ 95%
· Antigen Coverage: Must be demonstrated to detect antibodies against clinically relevant Brucella species (e.g., B. abortus, B. melitensis, B. suis).

· Sample Type: Validated for human serum and plasma

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 12–24 months from the date of supply/delivery.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Scrub Typhus IgM ELISA : Quantity 10 kits (with 2 kit procurement for now)
· Intended Use: Qualitative detection of IgM antibodies to Orientia tsutsugamushi in human serum.

· Target Antigen: Must utilize recombinant 56kDa surface protein or Orientia tsutsugamushi derived recombinant antigen
· For Plate Design: Must feature 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs.

· Diagnostic Performance:

· Sensitivity: ≥ 98%

· Specificity: ≥ 98%

· Sample Type: Validated for human serum.

· Shelf Life: Minimum 8-12 months from the date of supply/delivery.

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Toxoplasmosis ELISA Kit : Quantity 6 kits (with 2 kit procurement for now)
· Intended Use: Qualitative detection of antibodies (IgG and/or IgM) against Toxoplasma gondii in human serum or plasma.

· Format: Solid-phase Enzyme-Linked Immunosorbent Assay (ELISA) based on indirect ELISA methodology in a 96-well microtiter plate format.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil. 

· Diagnostic Performance:

· Sensitivity: > 98%
· Specificity: >98%

· Antigen Coverage: Must be demonstrated to detect antibodies against Toxoplasma gondii with high analytical performance and minimal cross-reactivity/interference from related infections or serum components.

· Sample Type: Validated for human serum and plasma

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.
Ref:

· Abcam. Human Anti-Toxoplasma gondii IgG ELISA Kit (ab108776).

· Creative Diagnostics. Human Toxoplasma gondii IgG ELISA Kit.

· Novus Biologicals / R&D Systems. Human Toxoplasma IgG ELISA Kit (NBP2-77055).

· Pishtazteb Diagnostics. Toxoplasma IgG ELISA Kit Technical Document.

Dengue IgM Capture ELISA Kit: Quantity 10 kits (with 2 kit procurement for now)
· Intended Use: Qualitative detection of IgM antibodies to Dengue virus in human serum for the presumptive diagnosis of acute Dengue infection.

· Format: Solid-phase Enzyme-Linked Immunosorbent Assay (ELISA) based on IgM capture principle in a 96-well microtiter plate format.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.

· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 92%
· Antigen Coverage: Must be demonstrated to detect IgM antibodies against Dengue virus serotypes (DENV 1–4) using recombinant antigens.

· Sample Type: Validated for human serum 

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

JE ELISA Kit : Quantity 3 kits 
· Intended Use: Qualitative detection of IgM antibodies to Japanese Encephalitis Virus (JEV) in human serum

· Format: Solid-phase Enzyme-Linked Immunosorbent Assay (ELISA) based on IgM Antibody Capture ELISA (MAC-ELISA) principle in a 96-well microtiter plate format.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil. 

· Diagnostic Performance:

· Sensitivity: > 90%
· Specificity: >98%

· Antigen Coverage: Must be demonstrated to detect IgM antibodies against circulating Japanese Encephalitis Virus strains with high analytical sensitivity and minimal cross-reactivity to other flaviviruses, including Dengue, West Nile, and related viruses.

· Sample Type: Validated for human serum. Acceptance of CSF as an additional sample type is desirable.

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.
Ref:

Robinson JS, et al. Evaluation of Three Commercially Available Japanese Encephalitis Virus IgM Enzyme-Linked Immunosorbent Assays. American Journal of Tropical Medicine and Hygiene.

https://pmc.ncbi.nlm.nih.gov/articles/PMC2963986/
Creative Diagnostics. Japanese Encephalitis IgM ELISA Kit (DEIA1978).

Novatein Biosciences. Human Japanese Encephalitis IgM ELISA Kit.

Chikungunya IgM ELISA Kit: Quantity 2 kits 
· Intended Use: Qualitative detection of IgM antibodies to Chikungunya virus in human serum for the presumptive diagnosis of acute Chikungunya infection.

· Format: Solid-phase Enzyme-Linked Immunosorbent Assay (ELISA) based on IgM capture principle in a 96-well microtiter plate format.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.

· Diagnostic Performance:

· Sensitivity: ≥ 95%

· Specificity: ≥ 95%
· Antigen Coverage: Must be demonstrated to detect IgM antibodies against Chikungunya virus with broad reactivity to multiple circulating genotypes/lineages.

· Sample Type: Validated for human serum 

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

RDT FOR HUMAN HEALTH

	Sr.No
	Pathogen
	Test
	Quantity of Kits 

(50 tests/kit)

	1
	Chikungunya 
	Chikungunya IgM/IgG RDT on whole blood, serum or plasma
	2

	2
	Dengue
	Dengue NS1/IgM/IgG RDT on WB, serum or plasma
	15

	3
	Influenza A & B
	Inf A & B RDT on nasal/oral swabs or aspirates
	5

	4
	Leptospira spp
	Leptospira IgM/IgG RDT on WB, serum or plasma
	15

	5
	Scrub typhus (Orientia tsutsugamushi )
	Scrub typhus RDT on WB, serum or plasma
	15

	6
	Vibrio Cholerae
	Vibrio Cholerae RDT on stool/rectal swab specimens
	15


Chikungunya IgM/IgG Rapid Test Kit: Quantity: 2 kit (100 tests/kit)

· Intended Use: Rapid qualitative detection of Chikungunya virus-specific IgM antibodies, or IgM/IgG antibodies, in human whole blood, serum, or plasma for the diagnosis of Chikungunya virus infection.

· Format: Rapid immunochromatographic lateral flow assay (card/device format).

· Device Design: Test device with distinct Test and Control lines; individually pouched with desiccant for single use. For IgM/IgG assays, separate IgM, IgG and Control lines should be provided. 

· Diagnostic Performance:

· Sensitivity: ≥ 92%

· Specificity: ≥ 97%
· Antibody Coverage: Must detect Chikungunya virus-specific IgM antibodies for diagnosis of recent/acute infection. Preference shall be given to kits capable of detecting both IgM and IgG antibodies for differentiation of acute and past infections.

· Sample Type: Validated for human whole blood, serum, and plasma. 

· Time to Result: Results should be available within 15-20 minutes.

· Storage Conditions: Stable at 2°C–40°C; suitable for tropical conditions.

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for point of care testing and provide high reproducibility of results.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Dengue Rapid Test Kit: Quantity 15 kit (100 tests/kit)

· Intended Use: Rapid qualitative detection and differentiation of Dengue NS1 antigen and Dengue virus-specific IgM/IgG antibodies in human whole blood, serum, or plasma for the diagnosis of Dengue virus infection.

· Format: Rapid immunochromatographic lateral flow assay (card/device format).

· Device Design: Test device with distinct NS1, IgM, IgG and Control lines; individually pouched with desiccant for single use. 

· Diagnostic Performance:

· Sensitivity: ≥ 95%

· Specificity: ≥ 96%
· Antigen/Antibody Coverage: Must detect Dengue NS1 antigen for early acute infection and Dengue virus-specific IgM and IgG antibodies for primary and secondary dengue infections.

· Sample Type: Validated for human whole blood, serum and plasma.

· Time to Result: Results should be available within 15-20 minutes.

· Storage Conditions: Stable at 2°C–30°C , suitable for tropical conditions

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for point of care testing and provide high reproducibility of results.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Influenza A & B Rapid Test Kit: Quantity 5 kit (100 tests/kit)

· Intended Use: Rapid qualitative detection and differentiation of Influenza A and Influenza B viral antigens in human respiratory specimens for the diagnosis of influenza infection.

· Format: Rapid immunochromatographic lateral flow assay (card/device format).

· Device Design: Test device with distinct Influenza A, Influenza B and Control lines; individually pouched with desiccant for single use. 
· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 95%
· Antigen Coverage: Must detect and differentiate Influenza A and Influenza B viral antigens. The assay should demonstrate minimal cross-reactivity with other respiratory pathogens.

· Sample Type: Validated for human nasal swab, nasopharyngeal swab, throat swab, nasal aspirate and/or nasopharyngeal aspirate specimens.

· Time to Result: Results should be available within 10-15 minutes.

· Storage Conditions: Stable at 2°C–30°C 

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for point of care testing and provide high reproducibility of results.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Leptospirosis IgM/IgG  Rapid Test Kit: Quantity 15 kit (100 test/kit )

· Intended Use: Rapid qualitative detection of antibodies (IgM and/or IgG) against Leptospira spp. in human whole blood, serum, or plasma for the diagnosis of leptospirosis.

· Format: Rapid immunochromatographic lateral flow assay (card/device format).

· Device Design: Test device with distinct IgM, IgG and Control lines; individually pouched with desiccant for single use.
· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 90%
· Antibody Coverage: Must detect antibodies against clinically relevant pathogenic Leptospira species. Preference shall be given to assays capable of simultaneous detection and differentiation of IgM and IgG antibodies to support identification of acute and recent infections.

· Sample Type: Validated for human whole blood, serum, and plasma specimens.

· Time to Result: Results should be available within 15-20 minutes.

· Storage Conditions: Stable at 1°C–30°C, suitable for use in tropical conditions.

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for point of care testing and provide high reproducibility of results.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Scrub typhus Rapid Test Kit: Quantity 15 kit (100 tests/kit)

· Intended Use: Rapid qualitative detection of IgM and/or IgG antibodies against Orientia tsutsugamushi (Scrub Typhus) in human whole blood, serum, or plasma for the diagnosis of scrub typhus infection.

· Format: Rapid immunochromatographic lateral flow assay (card/device format).

· Device Design: Test device with distinct IgM, IgG and Control lines; individually pouched with desiccant for single use.
· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 90%
· Antibody Coverage: Must detect antibodies against clinically relevant strains of Orientia tsutsugamushi. Preference shall be given to assays capable of simultaneous detection and differentiation of IgM and IgG antibodies to support diagnosis of acute and past/recent infection.

· Sample Type: Validated for human whole blood, serum, and plasma specimens.

· Time to Result: Results should be available within 15-20 minutes.

· Storage Conditions: Stable at 1°C–30°C, suitable for use in tropical conditions.

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for point of care testing and provide high reproducibility of results.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.
Vibrio Cholerae Rapid Test Kit: Quantity 15 kit (100 tests/kit)

· Intended Use: Rapid qualitative detection of Vibrio cholerae O1 and/or O139 antigens in human stool or rectal swab specimens for the screening and surveillance of cholera outbreaks caused by toxigenic Vibrio cholerae.

· Format: Rapid immunochromatographic lateral flow assay (card/device format).

· Device Design: Test device with distinct Test and Control lines; individually pouched with desiccant for single use. 
· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 90%
· Antigen Coverage: Must detect epidemic-associated Vibrio cholerae serogroups O1 and/or O139. Preference shall be given to assays with proven performance for detection of V. cholerae O1, the predominant epidemic strain.

· Sample Type: Validated for human stool specimens and/or rectal swab samples. 

· Time to Result: Results should be available within 15-20 minutes.

· Storage Conditions: Stable at 2°C–30°C.

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for point of care testing and provide high reproducibility of results.

· The product must be classified and approved as an In Vitro Diagnostic (IVD) device for professional diagnostic use.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must be CE certified
· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

ELISA for Animal Health

	S.No
	Pathogen 
	Test
	Quantity of kits to be procured 
	Quantity required

	1
	Leptospirosis
	Leptospira ELISA on serum or plasma
	20
	4

	2
	Brucellosis
	Brucella ELISA on serum or plasma
	20
	4

	3
	IBR
	IBR ELISA on serum or plasma
	5
	2

	4
	Toxoplasmosis
	Toxoplasma ELISA on serum or plasma
	5
	2


Leptospira IgM ELISA Kit: Quantity 20 kits, initial procurement of 4 kits
· Intended Use: Qualitative and/or semi-quantitative detection of antibodies against Leptospira spp. in animals

· Format: Solid-phase Indirect Enzyme-Linked Immunosorbent Assay (ELISA) using purified/recombinant Leptospira antigen(s) coated on microtiter wells for detection of anti-Leptospira antibodies.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminum foil.
· Diagnostic Performance:

· Sensitivity: ≥ 90%
· Specificity: ≥ 95%

· Target Analyte: Antibodies against pathogenic Leptospira serovars. Preference shall be given to kits capable of detecting antibodies to epidemiologically significant serovars such as Hardjo, Pomona, Canicola, Grippotyphosa, and Icterohaemorrhagiae.

· Animal Species: Validated for bovine (cattle/buffalo). Preference may be given to kits additionally validated for sheep, goats, pigs, dogs, and other livestock species.

· Sample Type: Serum and plasma. Preference shall be given to assays also validated for milk samples.

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.
· The product must be classified as a Veterinary In Vitro Diagnostic (Veterinary IVD) assay.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Reference: 

VetCheck Bovine Leptospira Indirect ELISA Kit (Immunoshop) –[immunoshop.com], [immunoshop.com]

Brucella IgM ELISA Kit: Quantity 20 kits initial procurement of 4 kits
· Intended Use: Qualitative and/or semi-quantitative detection of antibodies against Brucella spp. in animals.

· Format: Indirect ELISA and/or Competitive ELISA (cELISA) using purified Brucella antigens for detection of anti-Brucella antibodies.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.
· Diagnostic Performance:

· Sensitivity: ≥ 95%
· Specificity: ≥ 98%

· Target Analyte: Must detect antibodies against pathogenic Brucella species, including Brucella abortus, B. melitensis, B. suis, and related Brucella species relevant to animal brucellosis.

· Animal Species: Validated for cattle (bovine), sheep (ovine), goats (caprine), and pigs (swine). Preference shall be given to multispecies kits.

· Sample Type: Serum and plasma. Preference shall be given to assays also validated for milk samples.

· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.
· The product must be classified as a Veterinary In Vitro Diagnostic (Veterinary IVD) assay.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Reference:

Ringbio Brucella Antibody ELISA Kit – Multispecies indirect ELISA for cattle, sheep, goats, and swine; detects antibodies to B. abortus, B. melitensis, and related Brucella strains. [ringbio.com]
VetLine Brucella ELISA (Gold Standard Diagnostics) – Qualitative ELISA for antibodies against Brucella in serum, pooled serum, and milk; reported diagnostic sensitivity and specificity up to 100% in bovine and porcine samples. [goldstanda...ostics.com], [diagnostic...nimals.com]
IBR ELISA Kit: Quantity 6 kits, initial procurement of 4 kits
· Intended Use: qualitative and/or semi-quantitative detection of antibodies against Bovine Herpesvirus Type-1 (BoHV-1), the causative agent of Infectious Bovine Rhinotracheitis (IBR),

· Format: Blocking ELISA, Competitive ELISA, or Indirect ELISA for detection of antibodies against BoHV-1. Preference shall be given to kits validated for DIVA (Differentiating Infected from Vaccinated Animals) applications.

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.
· Diagnostic Performance:

· Sensitivity: ≥ 95%
· Specificity: ≥ 98%

· Target Analyte: BoHV-1 glycoprotein B (gB) antibodies for detection of infected and vaccinated animals. BoHV-1 glycoprotein E (gE) antibodies for DIVA testing in animals vaccinated with gE-deleted vaccines.

· Animal Species: Validated for bovine species (cattle and buffaloes)

· Sample Type: Serum and plasma. Preference shall be given to kits additionally validated for individual milk, bulk milk, and pooled milk samples.
· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.
· The product must be classified as a Veterinary In Vitro Diagnostic (Veterinary IVD) assay.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Reference:

· IDEXX IBR gB X3 Ab Test – ELISA for detection of BoHV-1 gB antibodies in serum, plasma, and milk samples; blocking format; results in less than 4 hours. [idexx.com]
· IDEXX IBR gE Ab Test – DIVA ELISA for differentiating infected animals from animals vaccinated with gE-deleted vaccines. [idexx.com]
· ID Screen® IBR gE Competition ELISA (Innovative Diagnostics) – Competitive ELISA for serum, plasma, individual milk, bulk milk, and condensed milk samples; DIVA-compatible. [innovative...ostics.com]
Toxoplasma ELISA Kit: Quantity 5 kits, initial procurement of 4 kits
· Intended Use: qualitative and/or semi-quantitative detection of antibodies against Toxoplasma gondii in animals.

· Format: Indirect ELISA using purified/recombinant Toxoplasma gondii antigen coated on microtiter plates for detection of specific anti-Toxoplasma antibodies. 

· Plate Design: Must Feature with 8x12 break-apart/strippable wells to minimize reagent waste for smaller batch runs; available in resealable aluminium foil.
· Diagnostic Performance:

· Sensitivity: ≥ 95%
· Specificity: ≥ 95%

· Target Analyte: Detection of anti-Toxoplasma gondii antibodies (IgG and/or total antibodies depending on assay design). Preference shall be given to kits validated for detection of chronic and/or recent exposure to T. gondii.

· Animal Species: Validated for multiple animal species including cattle, sheep, goats, swine, cats, and other susceptible domestic animals. Preference shall be given to true multi-species ELISA kits.

· Sample Type: Serum and plasma. Preference shall be given to kits additionally validated for meat juice and other approved veterinary specimens.
· Equipment Required: Compatible with standard ELISA reader (450 nm) and washer.

· Storage Conditions: 2–8°C (reagents stable till expiry under recommended storage conditions).

· Shelf Life: Minimum 6-9 months from the date of supply/delivery.
· The product must be classified as a Veterinary In Vitro Diagnostic (Veterinary IVD) assay.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must have an English-language Package Insert

· Must be shipped in validated cold chain (2–8°C)

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Reference:

ID Screen® Toxoplasmosis Indirect Multi-species ELISA (IDvet). [innovative...ostics.com]
	S. No
	Pathogen
	Test
	Quantity of kits to be procured

	1
	Brucella
	Brucella RDT on Whole Blood, serum or plasma
	8

	2
	Leptospirosis
	Leptospira RDT on Whole blood, serum or plasma
	8


RDT for Animal Health

Brucella Rapid Test Kit: Quantity 8 kit, initial procurement of 4 kits

· Intended Use: Rapid qualitative detection of antibodies against Brucella spp. (including Brucella abortus, B. melitensis, and related pathogenic species) in livestock for the screening and surveillance of animal brucellosis. Suitable for cattle, sheep, and goats. 
· Format: Rapid immunochromatographic lateral flow assay for veterinary use (card/device format).

· Device Design: Test device with distinct Test and Control lines; individually pouched with desiccant for single use. Sample buffer and disposable transfer device/pipette should be provided with the kit.

· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 95%
· Target Analyte:  Antibodies against Brucella spp., including B. abortus, B. melitensis, B. ovis, and/or B. suis.

· Animal Species: Validated for cattle (bovine), sheep (ovine), and goats (caprine). Preference may be given to kits validated across multiple livestock species.

· Sample Type: Serum, plasma, and whole blood. Preference may be given to kits additionally validated for milk samples.

· Time to Result: Results should be available within 10-15 minutes.

· Storage Conditions: Stable at 2°C–30°C

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for field, farm-side, veterinary clinic, quarantine station, and surveillance use without requiring specialized laboratory equipment.

· The product must be classified as a Veterinary In Vitro Diagnostic (Veterinary IVD) device.

· Manufacturers should comply with applicable veterinary quality standards such as ISO 9001/ISO 13485, GMP, or equivalent veterinary diagnostic quality systems.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Reference:

Ring Biotechnology – Brucella Antibody Rapid Test Kit (Sensitivity >90%, Specificity >95%, cattle/sheep/goat, serum/plasma/blood/milk, 15-minute test). [ringbio.com]
Technical Overview of Veterinary Brucella Antibody Rapid Test Kits. [goldengatebio.com]
Leptospirosis Rapid Test Kit: Quantity 8 kit, initial procurement of 4 kits

· Intended Use: Rapid qualitative detection of antibodies against Leptospira spp. in animals for the screening, surveillance, and diagnosis of leptospirosis in livestock and veterinary settings. Preference shall be given to kits validated for cattle, buffaloes, sheep, goats, pigs, and dogs.

· Format: Rapid immunochromatographic lateral flow assay for veterinary use (card/device format).

· Device Design: Test device with distinct Test and Control lines; individually pouched with desiccant for single use. Sample buffer and disposable transfer device/pipette should be provided with the kit.

· Diagnostic Performance:

· Sensitivity: ≥ 90%

· Specificity: ≥ 90%
· Target Analyte:  Antibodies (IgG and/or IgM depending on assay design) against pathogenic Leptospira serovars. Preference shall be given to assays covering epidemiologically important serovars such as L. interrogans, Pomona, Canicola, Grippotyphosa, Icterohaemorrhagiae, and related pathogenic serovars. 

· Animal Species: Validated for cattle, buffaloes, sheep, goats, pigs, and/or dogs. Preference may be given to kits validated across multiple animal species.

· Sample Type: Serum, plasma, or whole blood. 

· Time to Result: Results should be available within 10-15 minutes.

· Storage Conditions: Stable at 2°C–30°C

· Shelf Life: Minimum One-Year expiry period from the date of delivery time

· Pack Size: Approximately 50 tests per kit.

· Must be suitable for field, farm-side, veterinary clinic, quarantine station, and surveillance use without requiring specialized laboratory equipment.

· The product must be classified as a Veterinary In Vitro Diagnostic (Veterinary IVD) device.

· Manufacturers should comply with applicable veterinary quality standards such as ISO 9001/ISO 13485, GMP, or equivalent veterinary diagnostic quality systems.

· Must hold valid CDSCO/DCGI Import or Manufacturing License

· Must have an English-language Package Insert

· Must be shipped under recommended storage/transport conditions

· The bidder/manufacturer must have successfully supplied these kits to at least two Government or Autonomous Medical Colleges in India in the last one year.

Reference:

Senthilkumar K. et al., Lateral Flow Assay for Rapid Serodiagnosis of Bovine Leptospirosis, Iranian Journal of Veterinary Research, 2022 – Sensitivity 90.7%, Specificity 94.7%. [pmc.ncbi.nlm.nih.gov], [ncbi.nlm.nih.gov]
Zoetis WITNESS® Lepto Rapid Test Specifications – Canine leptospira IgM antibody detection with high sensitivity and specificity. [zoetisus.com], [zoetisdiag...ostics.com]
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General Information:
	Business Name:
	Trade Name (As per Invoice) :

	Postal Address, City & Code:
	

	Physical Address:
	

	Contact information:
	Landline No:
	Mobile No:
	Fax No:

	Company Email / Website
	

	Contact Person:
	
	Alternative Contact Person:
	

	Contact Person phone:
(if different from business)
	
	Alternative Contact Person Phone No:
	

	Contact Person e-mail
(if different from business)
	
	Alternative Contact Person e-mail:
	


Business Profile:
	Business registration No:
GST Number :
	PIN No.
PAN :
	VAT No.

	Town where main office is based:
	Branches if any:

	Years in Business:

	Publicly or privately owned company:
	Names of Main directors if privately owned:

	MSME registration under Micro, Small and Medium  Enterprise Development Act, 2006
	Yes/No-
	If Yes, MSME Number 

	Primary services / products offered:
Beneficiary Name as per Bank :

	Name of Bank:
	Bank branch:

	Bank Account No.
	Bank Account No. Currency
	Bank Branch code No:
IFSC :
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Vendor Information Form
Vendors Conflict of Interest Statement
I/We,
hereby certify that:
(Name of Vendor)
a) I/We will not offer, promise or provide to any Jhpiego employee or family member a bribe, favor, cash, gratuity, entertainment or anything of value to obtain favorable treatment, business or contract from Jhpiego. I/We also understand that Jhpiego employees are similarly prohibited from soliciting such favors from vendors.
Any gifts provided by vendors will be addressed to Jhpiego and benefit shared among all staff members or at the discretion of the Country Director or his designee.
b) I/We will not enter into a financial or any other relationship with a Jhpiego employee that creates any actual or potential conflict of interest for Jhpiego. I understand that a conflict of interest arises when the material personal interests of the Jhpiego employee are inconsistent with the responsibili¬ties of his/her position with Jhpiego. All such conflicts must be disclosed and corrected.
c) I/We will declare the name of any relative or friend holding a management position such as director, officer or employee working with Jhpiego.
Name: Title:

Sign: Date:
Kindly attach copies of the Registration documents, Pin certificate, VAT certificate, Business card if any.

For finance and administrative use only
     Has a sentinel check for the vendor been done: Yes
No 
If No give reason
Vendor addition requested by:  :                                                                                        

Sign: 
Date:
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ADDENDUM TO VENDOR INFORMATION FORM
“In accordance with the Data Protection and Privacy (DPDP) Act 2023, we, at Jhpiego Corporation, are committed to protecting your privacy and ensuring that your personal information is collected and used properly, lawfully, and transparently.

We are collecting your personal information such as Name, Bank details, Contact details, PAN, GST number, Email address, etc., through this form. This information may be collected directly or through a third party.

The collected data will be used for the following purposes:
1. Entering information in accounting/banking/tracking systems.
2. Filing return/information with Income Tax department, Department of Labour, Department of Commercial Taxes, Pension Fund Regulatory and Development Authority (PFRDA), Reserve Bank of India, Standard Chartered Bank, GST department, Registrar of Companies or for any other purpose required/permitted by any law, regulation, guideline and/or Competent Authority.

3. Sharing with agencies like Insurance company/broker/TPA, Auditor, lawyers, Donor, tax consultants, payroll outsourced, Pension Fund Managers (PFMs), Forex agents.

4. The above conditions are indicative not exhaustive.
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By checking this box and signing below, you consent to us for collecting, storing, using, and disclosing your personal information in the manner set out above.
Name 

Sign 


ADDENDUM TO VENDOR INFORMATION FORM

This addendum supplements the Jhpiego Vendor Information Form
Vendors Commitment to Refund VAT Funds to Jhpiego
I/We,
hereby certify that:
(Name of Vendor)
I/We understand that Jhpiego will pay my/our invoice(s) inclusive of VAT and apply for a waiver of the VAT by submitting a DA1 form to the Commissioner of Value Added Tax. On receipt of the duly approved DA1 form, I/We undertake to refund the relevant VAT amount to Jhpiego and/or allow Jhpiego to offset the VAT amount against any pending invoices and/or payments due to us.
Name:
Sign: 

Title:
Date:
2

